Work Logbook

Kate Bowater

U1019160

|  |  |  |
| --- | --- | --- |
| Date | Activity | Time |
| 16/03/24 | Created ELE33052024DA repository and folders.  Included Alexander Kist and Bo Song as collaborators.  Committed work logbook | 0.5 |
| 19/03/24 | Committed design report copy to docs folder (not finished) | 0.5 |
| 20/3/24 | Created new flow in Node-Red | 4 |
| 23/3/24 | Included relevant papers of application scenario in docs folder. Committed to repository | 0.75 |
| 23/3/24 | Formatted reference list. Finalized application scenario and worked on the specification section of report | 5 |
| 23/3/24 | Created test program in OpenPLC editor | 2 |
| 24/3/24 | Started design project in OpenLC editor and tested using Radzio for Modbus, but could not get working | 3 |
| 24/3/24 | Added more information to Specification section of design report | 2 |
| 25/3/24 | Spent time troubleshooting. Had to reimport new image of raspberry pi clone into virtualbox due to OpenPLC connectivity issues. This resolved the earlier problem of the circuit not working. Created new circuit in OpenPLC editor and imported to OpenPLC, tested with Modbus with success. | 3 |
| 25/3/24 | Worked on Node-Red flow to OpenPLC to check Modbus reading and UI response. Made edits to OpenPLC to resolve issues | 4 |
| 27/3/24 | Made changes to OpenPLC logic to ensure buttons for water pump work in Node-Red | 5 |
| 27/3/24 | Updated design report and Modbus window according to circuit changes | 1 |
| 28/3/24 | Worked on design report. Edited specifications and system overview. Started on ICT security risks and found two more references. | 5 |

|  |  |  |
| --- | --- | --- |
|  | Total |  |